Part-processed
flat spectra
Processed twilight flat
Calibrated arc
Attach wavelength calibration
Inputs
Inputs
Normalize continuum
Cut out slits
Cut out slits
Resample to
linear co-ords
Resample to
linear co-ords
Spatial flatness correction
Resample to linear co-ords
Processed flat
Derive “slit function”
Sum over spatial axis
Project to raw co-ords
Fit continuum
Divide by slit function
Project to raw co-ords
Divide by continuum